e/;izns'k xzkeh.k lM+d fodkl izkf/kdj.k

a¼e-iz-'kklu] iapk;r ,oa xzkeh.k fodkl foHkkx ds v/khu½

¼e-iz- lkslkbVh jftLVªhdj.k vf/kfu;e 1973 ds v/khu iathd`r laLFkk % iath;u Øekad 8746@2000½

[k.M&2] iape ry] i;kZokl Hkou] vjsjk fgYl Hkksiky

Ø-%      8449@22@fo&12@xzk-l-fo-izk-@Vh&2@SSR-2012@13 Hkksiky fnukad %    20@05@2013

Corrigendum

e/;izns'k xzkeh.k lM+d fodkl izkf/kdj.k Hkksiky }kjk tkjh ,l,lvkj ¼fnukad 1-5-12 ls ykxw½ ds v/;k; 9 esa vk;Ve dzekad 9-3 ls 9-10 esa vafdr fooj.k esa fuEukuqlkj la'kks/ku fd;k tk jgk gS &

| Chapter 9 - PIPE CULVERTS |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item No. | Description (as per published SSR) |  |  |  | Description (as per amendment) |  |  | Unit | Rate (Rs.) |
| 9.3 | Providing and Laying Reinforced Cement Concrete Pipe NP3 (ISI Mark) as per design |  |  |  | Providing and Laying Reinforced Cement Concrete Pipe NP3 (ISI Mark) as per design |  |  |  |  |
|  | Providing and laying ISI mark reinforced cement concrete hume pipe NP3 for culverts on first class bedding of granular material in single row including jointing with cement mortar 1:2 but excluding excavation, protection works, backfilling, bedding, concrete and masonry works in head walls and parapets Clause 1106. |  |  |  | Providing and laying ISI MARKED RCC HUME PIPE (S & S ENDS) CONFORMING TO IS : 458/2003 NP3 for culverts on first class bedding of granular material in single row including jointing with cement mortar 1:2 but excluding excavation, protection works, backfilling, bedding, concrete and masonry works in head walls and parapets Clause 1106. |  |  |  |  |
|  | (A) | 1200 mm dia |  |  | (A) |  | 1200 mm dia | m | 7,169.00 |
|  | (B) | 1000 mm dia |  |  | (B) |  | 1000 mm dia | m | 4,963.00 |
|  | (C) | 900 mm dia |  |  | (C) |  | 900 mm dia | m | 4,589.00 |
|  | (D) | 800 mm dia |  |  | (D) |  | 800 mm dia | m | 3,731.00 |
|  | (E) | 700 mm dia |  |  | (E) |  | 700 mm dia | m | 2,884.00 |
|  | (F) | 600 mm dia |  |  | (F) |  | 600 mm dia | m | 2,273.00 |
| 9.4 | Providing and Laying Reinforced Cement Concrete Pipe NP3 Non ISI Mark as per design |  |  |  | Providing and Laying Reinforced Cement Concrete Pipe NP3 Non ISI Mark as per design |  |  |  |  |
|  | Providing and laying Non ISI mark reinforced cement concrete hume pipe NP3 for culverts on first class bedding of granular material in single row including jointing with cement mortar 1:2 but excluding excavation, protection works, backfilling, bedding, concrete and masonry works in head walls and parapets Clause 1106. |  |  |  | Providing and laying RCC HUME PIPE (PLAIN ENDS NON ISI MARKED) CONFORMING TO IS : 458/2003 NP3 for culverts on first class bedding of granular material in single row including jointing with cement mortar 1:2 but excluding excavation, protection works, backfilling, bedding, concrete and masonry works in head walls and parapets Clause 1106. |  |  |  |  |
|  | (A) |  | 1200 mm dia |  | (A) |  | 1200 mm dia | m | 5,149.00 |
|  | (B) |  | 1000 mm dia |  | (B) |  | 1000 mm dia | m | 3,507.00 |
|  | (C) |  | 900 mm dia |  | (C) |  | 900 mm dia | m | 3,163.00 |
|  | (D) |  | 800 mm dia |  | (D) |  | 800 mm dia | m | 2,353.00 |
|  | (E) |  | 700 mm dia |  | (E) |  | 700 mm dia | m | 2,184.00 |
|  | (F) |  | 600 mm dia |  | (F) |  | 600 mm dia | m | 1,434.00 |
| 9.5 | Providing and Laying Reinforced Cement Concrete Pipe NP4 ISI Mark as per design |  |  |  | Providing and Laying Reinforced Cement Concrete Pipe NP4 ISI Mark as per design |  |  |  |  |
|  | Providing and laying ISI mark reinforced cement concrete hume pipe NP4 for culverts on first class bedding of granular material in single row including jointing with cement mortar 1:2 but excluding excavation, protection works, backfilling, bedding, concrete and masonry works in head walls and parapets Clause 1106. |  |  |  | Providing and laying ISI MARKED RCC HUME PIPE (S & S ENDS) CONFORMING TO IS : 458/2003 NP4 for culverts on first class bedding of granular material in single row including jointing with cement mortar 1:2 but excluding excavation, protection works, backfilling, bedding, concrete and masonry works in head walls and parapets Clause 1106. |  |  |  |  |
|  | (A) | 1200 mm dia |  |  | (A) |  | 1200 mm dia | m | 8,249.00 |
|  | (B) | 1000 mm dia |  |  | (B) |  | 1000 mm dia | m | 5,920.00 |
|  | (C) | 900 mm dia |  |  | (C) |  | 900 mm dia | m | 5,568.00 |
|  | (D) | 800 mm dia |  |  | (D) |  | 800 mm dia | m | 4,545.00 |
|  | (E) | 700 mm dia |  |  | (E) |  | 700 mm dia | m | 3,524.00 |
|  | (F) | 600 mm dia |  |  | (F) |  | 600 mm dia | m | 2,911.00 |
| 9.6 | Providing and Laying Reinforced Cement Concrete Pipe NP4 Non ISI Mark as per design |  |  |  | Providing and Laying Reinforced Cement Concrete Pipe NP4 Non ISI Mark as per design |  |  |  |  |
|  | Providing and laying Non ISI mark reinforced cement concrete hume pipe NP4 for culverts on first class bedding of granular material in single row including jointing with cement mortar 1:2 but excluding excavation, protection works, backfilling,bedding, concrete and masonry works in head walls and parapets Clause 1106. |  |  |  | Providing and laying RCC HUME PIPE (PLAIN ENDS NON ISI MARKED) CONFORMING TO IS : 458/2003 NP4 for culverts on first class bedding of granular material in single row including jointing with cement mortar 1:2 but excluding excavation, protection works, backfilling,bedding, concrete and masonry works in head walls and parapets Clause 1106. |  |  |  |  |
|  | (A) | 1200 mm dia |  |  | (A) | 1200 mm dia |  | m | 6,388.00 |
|  | (B) | 1000 mm dia |  |  | (B) | 1000 mm dia |  | m | 4,748.00 |
|  | (C) | 900 mm dia |  |  | (C) | 900 mm dia |  | m | 3,739.00 |
|  | (D) | 800 mm dia |  |  | (D) | 800 mm dia |  | m | 2,980.00 |
|  | (E) | 700 mm dia |  |  | (E) | 700 mm dia |  | m | 2,188.00 |
|  | (F) | 600 mm dia |  |  | (F) | 600 mm dia |  | m | 1,846.00 |
| 9.7 | Providing & Laying ISI mark Cement Concrete hume Pipe (burried conduits) on first class bedding of granular material including fixing collar with cement sand mortar 1:2 but excluding excavation, protection works, backfilling, bedding, concrete and masonary work in head wall and parapets. |  |  |  | Providing & Laying ISI MARKED RCC HUME PIPE (S & S ENDS) CONFORMING TO IS : 458/2003 (burried conduits) on first class bedding of granular material including fixing collar with cement sand mortar 1:2 but excluding excavation, protection works, backfilling, bedding, concrete and masonary work in head wall and parapets. |  |  |  |  |
|  | (A) | NP3 Pipes 600 mm dia |  |  | (A) | NP3 Pipes 600 mm dia |  | m | 2,261.00 |
|  | (B) | NP3 Pipes 500 mm dia |  |  | (B) | NP3 Pipes 500 mm dia |  | m | 1,735.00 |
|  | (C) | NP2 Pipes 600 mm dia |  |  | (C) | NP2 Pipes 600 mm dia |  | m | 1,131.00 |
|  | (D) | NP2 Pipes 500 mm dia |  |  | (D) | NP2 Pipes 500 mm dia |  | m | 886.00 |
| 9.8 | Providing & Laying Non ISI mark Cement Concrete hume Pipe (burried conduits) on first class bedding of granular material including fixing collar with cement sand mortar 1:2 but excluding excavation, protection works, backfilling, bedding, concrete and masonary work in head wall and parapets. |  |  |  | Providing & Laying RCC HUME PIPE (PLAIN ENDS NON ISI MARKED) CONFORMING TO IS : 458/2003 (burried conduits) on first class bedding of granular material including fixing collar with cement sand mortar 1:2 but excluding excavation, protection works, backfilling, bedding, concrete and masonary work in head wall and parapets. |  |  |  |  |
|  | (A) | NP3 Pipes 600 mm dia |  |  | (A) | NP3 Pipes 600 mm dia |  | m | 1,466.00 |
|  | (B) | NP3 Pipes 500 mm dia |  |  | (B) | NP3 Pipes 500 mm dia |  | m | 1,349.00 |
|  | (C) | NP2 Pipes 600 mm dia |  |  | (C) | NP2 Pipes 600 mm dia |  | m | 841.00 |
|  | (D) | NP2 Pipes 500 mm dia |  |  | (D) | NP2 Pipes 500 mm dia |  | m | 715.00 |
|  | (E) | NP2 Pipes 300 mm dia |  |  | (E) | NP2 Pipes 300 mm dia |  | m | 399.00 |
| 9.9 | Providing & Laying ISI mark Cement Concrete hume Pipe NP4 (burried conduits) on first class bedding of granular material including fixing collar with cement sand mortar 1:2 but excluding excavation, protection works, backfilling, bedding, concrete and masonary work in head wall and parapets. |  |  |  | Providing & Laying ISI MARKED RCC HUME PIPE (S & S ENDS) CONFORMING TO IS : 458/2003 NP4 (burried conduits) on first class bedding of granular material including fixing collar with cement sand mortar 1:2 but excluding excavation, protection works, backfilling, bedding, concrete and masonary work in head wall and parapets. |  |  |  |  |
|  | 500 mm dia |  |  |  | 500 mm dia |  |  | m | 2,080.00 |
| 9.10 | Providing & Laying Non ISI mark Cement Concrete hume Pipe NP4 (burried conduits) on first class bedding of granular material including fixing collar with cement sand mortar 1:2 but excluding excavation, protection works, backfilling, bedding, concrete and masonary work in head wall and parapets. |  |  |  | Providing & Laying RCC HUME PIPE (PLAIN ENDS NON ISI MARKED) CONFORMING TO IS : 458/2003NP4 (burried conduits) on first class bedding of granular material including fixing collar with cement sand mortar 1:2 but excluding excavation, protection works, backfilling, bedding, concrete and masonary work in head wall and parapets. |  |  |  |  |
|  | 500 mm dia |  |  |  | 500 mm dia |  |  | m | 1,380.00 |

mijksDrkuqlkj vk;Ve esa fd;s x;s la'kksf/kr fooj.k ds vuqlkj vk;Ve dk fooj.k i<k tkos rFkk ;g la'kks/ku rRdky izHkko ls ykxw gksxkA lkFk gh 'ks"k izfof"V;ka ;Fkkor jgsaxhA

¼ ,e- ds- xqIrk ½

izeq[k vfHk;ark

e-iz- xzkeh.k lM+d fodkl izkf/kdj.k

Hkksiky ¼e-iz-½

i`- Ø-%   8450@22@fo&12@xzk-l-fo-izk-@Vh&2@SSR-2012@13 Hkksiky fnukad %    20@05@2013

izfrfyfi &

- funsZ'kd ¼rd-½] ,uvkjvkjMh,] iape ry] ,uchlhlh VkWoj] Hkhdkth dkek Iysl] ubZ fnYyh

- eq[; egkizca/kd ¼leLr½] e-iz- xzkeh.k lM+d fodkl izkf/kdj.k A

- eq[; egkizca/kd ¼foRr½] e-iz- xzkeh.k lM+d fodkl izkf/kdj.k eq[;ky; Hkksiky A

- foRrh; lykgdkj] e-iz- xzkeh.k lM+d fodkl izkf/kdj.k eq[;ky; Hkksiky A

- ,lVh,- Hkksiky] esfuV Hkksiky] 'kkldh; bathfu;fjax dkWyst tcyiqj] th,lvkbZVh,l bankSj dh vksj lwpukFkZA

- Ekgkizca/kd&rd- ¼leLr½] e-iz- xzkeh.k lM+d fodkl izkf/kdj.k eq[;ky; Hkksiky A

- egkizca/kd ¼leLr½] e-iz-xzk-l-fo-izk- ihvkbZ;w -------------------- dh vksj lwpukFkZA

- izca/kd] vkbZVh] e-iz- xzkeh.k lM+d fodkl izkf/kdj.k eq[;ky; Hkksiky dh vksj izsf"kr dj ys[k gS fd la'kksf/kr i= dks www.mprrda.com osolkbZV ij viyksM djsaA

izeq[k vfHk;ark

e-iz- xzkeh.k lM+d fodkl izkf/kdj.k

Hkksiky ¼e-iz-½